## Bangalore urban
SUPPLY ESTIMATION
| Catchment 1 | Catchment 2 | Catchment 3 | Catchment 4 |  | type of roof
Catchment Area (m2) | 500 |  |  |  |  | Flat
Runoff coefficient | 0.8
Filter efficiency | 0.8
[6 empty] | Month | No of working days | no of rainy days
Effective catchment | 320 | 0 | 0 | 0 |  | May | 0 | 7
[6 empty] | June | 22 | 6
Total effective catchment |  |  |  | 320 |  | July | 22 | 7
Total Annual rainfall (mm) |  |  |  | 898 |  | August | 22 | 10
Rainwater harvestable annually (l) |  |  |  | 287360 |  | September | 22 | 10
[6 empty] | October | 15 | 10
[6 empty] | November | 18 | 3
DEMAND ESTIMATION | [5 empty] | December | 18 | 1
Daily requirement for flushing |  |  |  | 5000 |  | January | 22 | 0
Daily requirement for gardening, washing floors etc. |  |  |  | 1500 |  | February | 22 | 0
Monthly water demand |  |  |  | 155000 |  | March | 22 | 0
Annual water demand |  |  |  | 1450000 |  | April | 0 | 5
peak rainfall rate (mm/hr) | 25 |  |  |  | Tank Capacity (l) |  | 5000
water harvested / hr (l) | 8000
Month | Rainfall (mm) | A = monthly water yield (l) | B = cum. water yield (l) | C = monthly water demand (l) | D = cum water demand (l) | volume stored (l) | Rainwater stored for future use | Rainwater harvested | Overflow | Tank capacity
May | 116 | 37120 | 37120 | 34500 | 34500 | 2620 | 2620 | 37120 | 0 | 5000
June | 69 | 22080 | 59200 | 146000 | 180500 | -121300 | 0 | 22080 | 0 | 5000
July | 99 | 31680 | 90880 | 144500 | 325000 | -234120 | 0 | 31680 | 0 | 5000
August | 123 | 39360 | 130240 | 140000 | 465000 | -334760 | 0 | 39360 | 0 | 5000
September | 149 | 47680 | 177920 | 140000 | 605000 | -427080 | 0 | 47680 | 0 | 5000
October | 168 | 53760 | 231680 | 105000 | 710000 | -478320 | 0 | 53760 | 0 | 5000
November | 64 | 20480 | 252160 | 130500 | 840500 | -588340 | 0 | 20480 | 0 | 5000
December | 47 | 15040 | 267200 | 133500 | 974000 | -706800 | 0 | 15040 | 0 | 5000
January | 5 | 1600 | 268800 | 155000 | 1129000 | -860200 | 0 | 1600 | 0 | 5000
February | 8 | 2560 | 271360 | 155000 | 1284000 | -1012640 | 0 | 2560 | 0 | 5000
March | 8 | 2560 | 273920 | 155000 | 1439000 | -1165080 | 0 | 2560 | 0 | 5000
April | 42 | 13440 | 287360 | 37500 | 1476500 | -1189140 | 0 | 13440 | 0 | 5000
Total | 898 | 287360 |  | 1476500 |  |  |  | 287360 | 0